7.22 Point of Care Testing (POCT)

- Define POCT and describe what POCT takes place within the Trust and where

- List some of the pros and cons of POCT and how these may impact on the POCT service and / or the patient pathway

- What pre - analytical factors may affect samples used in POCT and what impact may these have on results

- Describe the principles of the methods used in the following POC tests / equipment and what limitations these methods may have e.g. interferences, measuring range, pre-existing illness or conditions etc

- Glucose meter and test strips

- Pregnancy testing

- Blood gas analysis including ISE, metabolites and co-oximetry

- Hb testing using the HemoCue 201+ analyser

- INR testing using the Roche CoaguChek

- Describe how connectivity and IT can be of benefit in the management of POCT devices and operators.

- Internal quality control is out of range on an unconnected blood glucose meter. What advice would you give the ward user regarding this problem?

- Look at the WEQAS EQA report for blood gas distribution P236 for ward 4 and Critical Care 1. What does the report show us about the performance of each analyser.

- What guidelines are policies are there available (both internal to the Trust and external) for POCT

- Outline the principles of governance of POCT within the Trust as detailed in the POCT Policy (C26) e.g. training, passwords, result recording, procurement of devices etc.

- The Trust has recently started providing Lumira analysers for POCT Covid-19 diagnosis. What impact has this had on the service the Trust is able to provide to patients?